Structure

- Reinforced concrete, according to the drawings, concrete code design and anti-earthquake

design rules and regulations

- Lowest concrete strength C37.

- The Iron used is an EU product category B500C, approved by the government and designed according to Eurocode standards.

Insulation

- External walls 25cm thermal type bricks – Main skeleton externally insulated with 5cm polystyrene

- All houses, exposed roofs and all verandas on top of internal spaces will be

insulated with high quality water proofing material and polystyrene for thermal insulation,

all to Site Inspector`s approval

- The entire structure will be thermally insulated to meet the requirements

of the Energy Performance Department of the Ministry of Commerce, Industry and Tourism of Cyprus

- Energy Performance Certificate will be issued

Wall Finishes

- Interior: 3 coats of plaster plus 2 coats of spatula plus 3 coats of emulsion

- Exterior: 2 coats of acrylic plaster with mesh and finishing with acrylic grafiato.

Kitchen

- Worktop in granite

- High quality units

- Optional kitchen Island bar.

Floors

- High quality European ceramic tiles size 90cm x 90cm or 60cm x 120cm in perfect marble finish or Laminate Parque.

Bathroom Finishes

- High quality European ceramic tiles in marble finish - Quality vanity units

- Vanity unit top surface from marble or granite

- High quality sanitary ware, accessories and mixers (GROHE & EUROGROHE)

Wardrobes

- All wardrobes with hinged doors, painted in plastic paint or glass fitted doors.

Electrical – Mechanical

- All electrical works will be carried out according to the latest edition of the IEE

regulations and according to the electrical layout of all floors

in bedrooms and in living/dining areas. Latest recognized brands

- Connection to sewerage system

- Solar System, Water Pressurizing System

- Complete installation of central structure cabling system for TV, telephone and computer throughout the house

- Water proof sockets in verandas

- Optional shaver socket and hair dryer sockets to all bathrooms

- WIFI Alarm system.

- Intercom with camera.

Air-condition Units

- VRV type for cooling and heating (Duct – concealed in Kitchen – living area & Wall units in bedrooms)

False ceilings

Underfloor heating

- Underfloor water heating with heat pump for the whole area of the apartment.

Internal Doors

- All internal doors will be in veneered varnished wood (high pressured laminate) or high gloss finish

Entrance Door

- Made of high-quality solid wood or alloy.

External Patio Doors and Windows

- All external windows and sliding doors will be in high quality aluminum

with thermal insulation and double-glazing energy glass for improved thermal

insulation and soundproofing.

Railings

- All external veranda and roof garden railings will be constructed in special safety glass.

PARKING SPACE

- Parking Space No. P13, with provision for electrical car charger.

Outdoor Jacuzzi – Swimming pool – GYM – CCTV – Barrier control access – Lobby