ELYSIAN HOMES I SPECIFICATIONS

Structure

- Reinforced concrete, according to the drawings, concrete code design and anti-earthquake

design rules and regulations

- The Iron used is an EU standard, approved by the government and designed according to Eurocode standards

Insulation

- External walls 25cm thermal type bricks – Main skeleton externally insulated with polystyrene

- All houses, exposed roofs and all verandas on top of internal spaces will be

insulated with high quality water proofing material and polystyrene for thermal insulation,

all to Site Inspector`s approval

- The entire structure will be thermally insulated to meet the requirements of the Energy Performance Department of the Ministry of Commerce, Industry and Tourism of Cyprus

- Energy Performance Certificate will be issued (Energy efficient A)

Wall Finishes

- Interior: 2 coats of plaster plus 2 coats of spatula plus 3 coats of emulsion

- Exterior: 2 coats of acrylic plaster with mesh and finishing with acrylic grafiato

Kitchen

- Kitchen units and the color scheme of the kitchen set is to be agreed with the customer

- Worktop in granite the color to be agreed with the customer

- MDF - Melamine with handles

- Island bar

Floors

- High quality European ceramic tiles size 60cm x 120cm in perfect marble finish.

- Optional laminated parquet in bedrooms.

- The color scheme is to be agreed with the customer.

Bathroom Finishes

- High quality European ceramic tiles in marble finish - Quality vanity units

- Vanity unit top surface from marble or granite

- High quality sanitary ware, accessories and mixers (HANSGROHE)

- Wall mounted toilets

- Walk in showers

- The color scheme is to be agreed with the customer

Wardrobes

- All wardrobes with hinged doors, painted in plastic paint or glass fitted doors.

- The color scheme is to be agreed with the customer

Electrical – Mechanical

- All electrical works will be carried out according to the latest edition of the IEE

regulations and according to the electrical layout of all floors

in bedrooms and in living/dining areas. Latest recognized brands

- Solar System

- Water Pressurizing System

- Complete installation of central structure cabling system for TV, telephone and computer throughout the house

- Water proof sockets in verandas

- Optional shaver socket and hair dryer sockets to all bathrooms

- Provision for photovoltaic system

- Provision for a/c units

Internal Doors

- All internal doors will be in veneered varnished wood (high pressured laminate) or high gloss finish

- The color scheme is to be agreed with the customer

Entrance Door

- Made of high-quality solid or alloy

External Patio Doors and Windows

- All external windows and sliding doors will be in high quality aluminum with thermal insulation and double-glazing energy glass for improved thermal insulation and soundproofing.

Railings

- All external veranda and roof garden railings will be constructed in special safety glass

Parking space

- With provision for electrical car charger